1300 West Improvements

From 3310 South to 3390 South

**Addendum 2**

2/4/2025

1. Addendum #2 – REMOVE EXISTING 3X3 STORM DRAIN BOX AND REPLACE WITH 4X4 STORM DRAIN BOX.
   1. The following items are modified with this addendum
      1. BID SCHEDULE
         1. Add Bid Item #29 – REMOVE EXISTING 3X3 STORM DRAIN BOX
         2. Change Bid Item #10 – 4X4 STORMWATER JUNCTION BOX quantity from 1 to 2.
      2. SHEET C101 – ADDENDUM #2 – Revised Sheet Issued
      3. SHEET C201 – ADDENDUM #2 – Revised Sheet Issued
      4. SHEET C301 – ADDENDUM #2 – Revised Sheet Issued
      5. Add M&P item

29. ADDENDUM #2 – REMOVE EXISTING 3X3 STORM DRAIN BOX

* + - 1. Measurement shall be lump sum complete
      2. Bid price covers cost to remove existing structure. Included in this item are all labor, equipment and materials required for the removal of the existing storm drain box.

Bid price covers all incidental work and tools, equipment, transportation, services, and other items required to excavate, remove, transport, and dispose of existing storm drain box.